## Electrical I
Electrical I
Expense Category | Equipment | Quantity | Cost per item
Tools and Equiptment | Computer, Windows 7, i5 processor, 4 GB RAM, 500 GB hard drive, CD/DVD-RW, 10/100 Ethernet, 17" LCD monitor and projector | 1 | 8500
Instructional Materials | NCCER - Electrical Level 1 Textbook (Student, and Teacher Editions) | Class set | 2000
Tools and Equiptment | 1/2" drill, cordless | 2 | 338
Tools and Equiptment | 1/2" drill, variable speed, reversible, portable, corded | 2 | 40
Tools and Equiptment | 1/2" Hammer drill | 1 | 23.96
Tools and Equiptment | 10" sliding compound miter saw | 1 | 117.99
Tools and Equiptment | 100' 12AWG extension cord | 2 | 59.98
Tools and Equiptment | 12" triangular, engineer's scale | Class set | 240
Tools and Equiptment | 20 lb. sledge hammer | 2 | 24
Tools and Equiptment | 20-foot extension ladder | 1 | 167
Tools and Equiptment | 200-ft fish tape | 1 | 71.07
Tools and Equiptment | 25-foot steel tape measure | Class set | 299.8
Tools and Equiptment | 6-foot step ladder | 2 | 140
Tools and Equiptment | 7-1/4" circular saw | 2 | 180
Tools and Equiptment | 8" adjustable wrench | 6 | 200
Tools and Equiptment | 9" lineman pliers w/insulated handles | Class set | 767.2
Tools and Equiptment | Air compressor and hoses | 1 | 29.98
Tools and Equiptment | Assorted clamps | 6 | 150
Tools and Equiptment | Ball peen hammer | 2 | 20.26
Tools and Equiptment | Band saw | 1 | 124.99
Tools and Equiptment | Bench grinder | 1 | 127.99
Tools and Equiptment | Carpenter framing square | 4 | 40
Tools and Equiptment | Cat’s paw nail puller | 6 | 134.76
Tools and Equiptment | Center punch | 4 | 26.24
Tools and Equiptment | Chalk line | 2 | 18.1
Tools and Equiptment | Clamp-on ammeter | 6 | 149.82
Tools and Equiptment | Class 0 hot gloves (pair) | 2 | 28
Tools and Equiptment | Claw hammer | Class set | 159.6
Tools and Equiptment | Combination square | 4 | 50
Tools and Equiptment | Compass saw | 6 | 59.04
Tools and Equiptment | Crosscut hand saw | 2 | 47.1
Tools and Equiptment | EMT bender - 1/2" | 2 | 71.72
Tools and Equiptment | EMT bender - 3/4" | 2 | 36.48
Tools and Equiptment | EMT hickey bender | 2 | 94.16
Tools and Equiptment | Face shield | 2 | 49.26
Tools and Equiptment | Fire extinguisher | 1 | 19.99
Tools and Equiptment | Flat bastard file | 2 | 11
Tools and Equiptment | Germicidal cabinet for safety glass storage | 1 | 489
Tools and Equiptment | Hacksaw | 10 | 114.6
Tools and Equiptment | Hand-held calculator | Class set | 29.4
Tools and Equiptment | Hard Hat | 1 | 24.8
Tools and Equiptment | Hex key (Allen wrench) set | 4 | 49.96
Tools and Equiptment | Hydraulic knockout punch set, 1/2" - 2" | 1 | 94.99
Tools and Equiptment | Lockout tagout kit | 1 | 108.56
Tools and Equiptment | Machinist vise | 1 | 19.98
Tools and Equiptment | Manual knockout punch set, 1/2" - 2" | 1 | 130.99
Tools and Equiptment | MC cable cutter | 1 | 50.85
Tools and Equiptment | Megohmmeter | 1 | 44.98
Tools and Equiptment | Multimeter | 6 | 119.94
Tools and Equiptment | National Electrical Code book | 6 | 612
Tools and Equiptment | Phillips #2 screwdriver | Class set | 159.8
Tools and Equiptment | Pneumatic nailer | 1 | 29.31
Tools and Equiptment | Portable belt sander | 1 | 165.19
Tools and Equiptment | Portable electric sabre saw | 1 | 80
Tools and Equiptment | Portable GFCI | 1 | 134.59
Tools and Equiptment | Portable reciprocating saw | 1 | 60.9
Tools and Equiptment | PVC Heat Gun | 2 | 118
Tools and Equiptment | Safety glasses (meeting OSHA requirements) | Class set | 17.4
Tools and Equiptment | Safety goggles | 6 | 649.2
Tools and Equiptment | Safety harness w/lanyard | 2 | 141.9
Tools and Equiptment | Safety poster | 6 | 117
Tools and Equiptment | Speed square | 4 | 119.68
Tools and Equiptment | Standard 1/4" x 4" screwdriver | Class set | 259.8
Tools and Equiptment | Steel toed safety shoes (pair) | 1 | 149.99
Tools and Equiptment | Three-point ground tester | 1 | 11440
Tools and Equiptment | Tongue and groove pliers | Class set | 161.8
Tools and Equiptment | Torpedo level | Class set | 957.8
Tools and Equiptment | Utility knife | Class set | 588
Tools and Equiptment | Wire reel cart | 1 | 100
Tools and Equiptment | Wire stripper | Class set | 542.2
Tools and Equiptment | Wood chisel set | 1 | 85.52
Tools and Equiptment | Work gloves (pair) | Class set | 780
Tools and Equiptment | Wrecking bar | 2 | 120
| TOTAL |  | 33485.62
Additional Instructional Resources Recommended
Instructional Materials | Access to job site where trainees can observe a variety of cable tray support systems, including: Direct rod, trapeze mounting, center hung support, wall mounting, pipe rack mounting |  | Time and Talent requests from industry
Instructional Materials | Access to job site where trainees can observe a variety of wireway components, including: Connectors, end plates, closing plates, tee fittings, crosses, elbows, nipples, slip fittings
Instructional Materials | Blank worksheet for general lighting loads
Instructional Materials | Company safety manual
Instructional Materials | Complete set of construction drawings
Instructional Materials | Complete set of electrical drawings, including lighting and panelboard schedules
Instructional Materials | Copies of all appropriate NEC® requirements
Instructional Materials | Copies of appropriate NEC® sections and tables
Instructional Materials | Copies of the help-wanted section from one or more electrical trade publications
Instructional Materials | Copies of the NEC® requirements for overcurrent protection
Instructional Materials | Copy of an employee manual from an electrical contractor
Instructional Materials | Copy of the latest edition of NFPA 70E, Standard for Electrical Safety in the Workplace®
Instructional Materials | Copy of the latest edition of the National Electrical Code®
Instructional Materials | Copy of the latest edition of the NFPA 70, National Electrical Code®
Instructional Materials | Copy of the latest edition of the OSHA Safety and Health Standards for the Construction Industry
Instructional Materials | Drawings and schematics of low-voltage remote control switching systems
Instructional Materials | DVD player
Instructional Materials | Electrical Level One PowerPoint® Presentation Slides
Instructional Materials | Electrical Level Two PowerPoint® Presentation Slides
Instructional Materials | Enough copies of NEC Table 250.122 for each trainee
Instructional Materials | Enough copies of NEC Table 250.66 for each trainee
Instructional Materials | Example job specifications
Instructional Materials | Examples of NCCER Training Credentials
Instructional Materials | Lamp manufacturers’ catalogs
Instructional Materials | Manufacturers’ bending charts
Instructional Materials | Manufacturers’ catalogs for cable supports
Instructional Materials | Manufacturers’ gain tables
Instructional Materials | Manufacturers’ literature with maximum pulling tension information
Instructional Materials | Module Examinations
Instructional Materials | Module Review answer key
Instructional Materials | NCCER publication Careers in Construction
Instructional Materials | NEC® installation requirements for motors
Instructional Materials | NEC® motor protection requirements
Instructional Materials | NFPA 70E, Standard for Electrical Safety in the Workplace®
Instructional Materials | OSHA Electrical Safety Guidelines (pocket guide)
Instructional Materials | Performance Profile Sheets
Instructional Materials | Powder-actuated tool operator’s certification training program
Instructional Materials | Residential floor plan
Instructional Materials | Sample schematics
NCCER's Recommended EQUIPMENT AND MATERIAL LIST FOR Electrical | " Copy the URL below and Paste it into either a Firefox or Chrome browser, to access the NCCER website page that provides the EQUIPMENT AND MATERIAL LISTS for NCCER's Electrical Levels. Click on the link for Electrical, Level 1, 9th Edition https://www.nccer.org/workforce-development-programs/disciplines/craft-details/electrical THERE IS NO EQUIPMENT LIST FOR THE WEATHERIZATION MODULE

## Vendors
Vendors
https://www.harborfreight.com/#
https://www.homedepot.com/
Teachers and schools can request a grant of free tools for Skilled Trades and Advanced Manufacturing pathways from Harbor Freight Tools for Schools using this link: https://www.harborfreightdonations.com/tools-for-schools/teacher/

## Design Considerations
Facility Design
An electrical system for a laboratory should be planned after the identification of the equipment and where it is to be located. However, planners need to assume that changes will occur from time to time in the use of the facility. Duplex receptacles (120-volt) should be located at 12’ intervals on perimeter walls and should be placed 48” above the floor. Double duplex outlets should be located on columns. Where debris on the floor is common, outlets mounted in cast boxes on rigid conduit at least 12” above the floor are recommended. Outlets, which must be placed on the floor under student furniture, should be in surface-mounted, tombstone fixtures. In medium to heavy-duty shops where equipment is often driven by electric motors, 208- or 240-volt, three-phase current should be provided. Magnetic switches should be installed on equipment with large motors. Where flexibility in equipment location is desirable, overhead drop cords are generally more flexible than the expensive overhead bus duct system. The instructor will need to be able to disconnect each piece of equipment from its power source; therefore, the use of outlets for each machine is appropriate. As a safety factor, the instructor should be able to disconnect and lock the electrical service to all equipment from a master panel that is easily accessible. Code all machinery at the power panel so the circuit can be killed quickly in an emergency. Automotive or other laboratories where volatile liquids or vapors will be present require special safety considerations. State and local building codes should be consulted. Security and Safety Security in Trade and Industrial Education facilities and equipment is of primary concern from economic, accountability, and liability perspectives. The design of the facility should assure controlled access to classroom, file server, laboratory, and support areas. No consideration in facility planning is more important than safety. While various points related to safety are alluded to throughout this publication, the following are specific points to consider: Machinery should be located to allow the operator protection from traffic patterns. Kickback areas for machines should be oriented away from student work areas. Electric equipment should not be located near sinks or water fountains. Welding booths and curtains should be fire proof or fire resistant. Exhaust hoods should be provided in welding areas. Curtains on booths should adequately screen the welding area. An engine exhaust system should be provided in automotive areas. Motors, switches, and electric fixtures located in spray booths should be explosion- proof. U.L.-approved safety containers should be provided for flammable liquids and rags. Storage cabinets for eye protection devices should be provided. 9. Eyewash fountains should be provided where students or staff are likely to get chemicals or debris in their eyes. Emergency showers may be needed in some laboratories. An electrical system for a laboratory should be planned after the identification of the equipment and where it is to be located. However, planners need to assume that changes will occur from time to time in the use of the facility. Duplex receptacles (120-volt) should be located at 12’ intervals on perimeter walls and should be placed 48” above the floor. Double duplex outlets should be located on columns. Where debris on the floor is common, outlets mounted in cast boxes on rigid conduit at least 12” above the floor are recommended. Outlets, which must be placed on the floor under student furniture, should be in surface-mounted, tombstone fixtures. In medium to heavy-duty shops where equipment is often driven by electric motors, 208- or 240-volt, three-phase current should be provided. Magnetic switches should be installed on equipment with large motors. Where flexibility in equipment location is desirable, overhead drop cords are generally more flexible than the expensive overhead bus duct system. The instructor will need to be able to disconnect each piece of equipment from its power source; therefore, the use of outlets for each machine is appropriate. As a safety factor, the instructor should be able to disconnect and lock the electrical service to all equipment from a master panel that is easily accessible. Code all machinery at the power panel so the circuit can be killed quickly in an emergency. Automotive or other laboratories where volatile liquids or vapors will be present require special safety considerations. State and local building codes should be consulted. Security and Safety Security in Trade and Industrial Education facilities and equipment is of primary concern from economic, accountability, and liability perspectives. The design of the facility should assure controlled access to classroom, file server, laboratory, and support areas. No consideration in facility planning is more important than safety. While various points related to safety are alluded to throughout this publication, the following are specific points to consider: Machinery should be located to allow the operator protection from traffic patterns. Kickback areas for machines should be oriented away from student work areas. Electric equipment should not be located near sinks or water fountains. Welding booths and curtains should be fire proof or fire resistant. Exhaust hoods should be provided in welding areas. Curtains on booths should adequately screen the welding area. An engine exhaust system should be provided in automotive areas. Motors, switches, and electric fixtures located in spray booths should be explosion- proof. U.L.-approved safety containers should be provided for flammable liquids and rags. Storage cabinets for eye protection devices should be provided. 9. Eyewash fountains should be provided where students or staff are likely to get chemicals or debris in their eyes. Emergency showers may be needed in some laboratories.